Bradford Medical Supply

467 Norwood Circle

Santa Clara, Ca 95051

Rental Unit Cleaning Procedures

Cleaning Philosophy
Our cleaning philosophy it that no unit shall enter storage unless it has been cleaned and disinfected*. Upon arrival at the designated cleaning facility (467 Norwood Circle) from receipt of the customer the unit shall be cleaned using the following procedures:
Cleaning Procedures upon Rental Unit Return at Storage Facility:
Power Wheelchairs, Mobility Chairs & Mobility Scooters

1. Spray seats, handlebars joysticks lightly with disinfectant.

2. Leave spray on for no less than 10 minutes

3. Wipe down with clean dry cloths
4. Place in designated area ready for rental.
5. Update the cleaning log at Bradford Medical Supply  - Equipment Cleaning Log - 2013
Knee Walker:
1. Spray seats, handlebars joysticks lightly with disinfectant.

2. Leave spray on for no less than 10 minutes

3. Wipe down with clean dry cloths
4. Cleaning exterior of unit wheels and body with light disinfectant.

5. Place in designated area ready for rental.

6. Update the cleaning log at Bradford Medical Supply  - Equipment Cleaning Log - 2013
Hospital Beds - Full & Semi Electric:
1. Wear gloves, face mask, with protection goggles when handling or cleaning rental beds.

2. Spray bed frame and mattress cover lightly with disinfectant.

3. Leave spray on for no less than 10 minutes

4. Wipe down with clean dry cloths
5. Place in designated area ready for rental.

6. Update the cleaning log at Bradford Medical Supply  - Equipment Cleaning Log - 2013
Wheelchairs and Transport Chairs:
1. Spray seats, handlebars joysticks lightly with disinfectant.

2. Wipe down with clean dry cloths
3. Cleaning exterior of unit wheels and body with light disinfectant.

4. Place in designated area ready for rental.
5. Update the cleaning log at Bradford Medical Supply  - Equipment Cleaning Log - 2013
Walkers:

1. Spray seats, handlebars joysticks lightly with disinfectant.

2. Wipe down with clean dry cloths.

3. Cleaning exterior of unit wheels and body with light disinfectant.

4. Place in designated area ready for rental.

5. Update the cleaning log at Bradford Medical Supply  - Equipment Cleaning Log - 2013
Ramp:

1. Spray unit lightly with disinfectant.

2. Wipe down with clean dry cloths.

3. Place in designated area ready for rental.

4. Update the cleaning log at Bradford Medical Supply  - Equipment Cleaning Log - 2013
Lift Chair 
1. Vacuum thoroughly, if soiled use steam cleaner and/or upholstery attachment on carpet shampooer.

2. Wipe down with clean dry cloths

3. Let the unit dry out for at least 12 hours.

4. Place in designated area ready for rental.

5. Update the cleaning log at Bradford Medical Supply  - Equipment Cleaning Log - 2013
Trapeze:
1. Spray unit lightly with disinfectant.

2. Wipe down with clean dry cloths

3. Place in designated area ready for rental.

* Required Disinfectant or equivalent used:

Virex Tb is a ready-to-use quaternary-based hospital grade disinfectant that provides excellent cleaning and deoderizing in one step. Disinfects in 3 minutes. Bactericide, tubercolocide, virucide, fungicide. Kills norovirus, VRE and MRSA. Meets bloodborne pathogen standards for decontaminating blood and body fluids. Colorless with a lemon scent. . (No mixing or dilution required)
http://maxxwellinternational.com/index.php?route=product/product&product_id=124
http://www2.hawaii.gov//hdoa/labels/8017.24_2013.pdf
