Bradford Medical Supply

467 Norwood Circle

Santa Clara, Ca 95051

Rental Unit Cleaning Procedures

Cleaning Philosophy
Our cleaning philosophy it that no unit shall enter storage unless it has been cleaned and disinfected. Upon arrival at the designated cleaning facility from receipt of the customer the unit shall be cleaned using the following procedures:
Cleaning Procedures upon Rental Unit Return at Storage Facility:
Power Wheelchairs, Mobility Chairs & Mobility Scooters

1. Spray seats, handlebars joysticks lightly with disinfectant.

2. Wipe down with clean dry cloths available in storage.

3. Cleaning exterior of unit wheels and body with light disinfectant.

4. Tag as clean and let air dry inside storage unit.

5. Place in designated area ready for rental.
Knee Walker:
1. Spray seats, handlebars joysticks lightly with disinfectant.

2. Wipe down with clean dry cloths available in storage.

3. Cleaning exterior of unit wheels and body with light disinfectant.

4. Tag as clean and let air dry inside storage unit.

5. Place in designated area ready for rental.

Hospital Beds - Full & Semi Electric:
1. Wear gloves, face mask, with protection goggles when handling or cleaning rental beds.

2. Spray bed frame and mattress thoroughly with disinfectant.

3. Wipe down with clean dry cloths available in storage.

4. Tag as clean and let air dry inside storage unit.

5. Place in designated area ready for rental.

Wheelchairs and Transport Chairs:
1. Spray seats, handlebars joysticks lightly with disinfectant.

2. Wipe down with clean dry cloths available in storage.

3. Cleaning exterior of unit wheels and body with light disinfectant.

4. Tag as clean and let air dry inside storage unit.

5. Place in designated area ready for rental.

Lift Chair 
1. Spray unit lightly with disinfectant.

2. Wipe down with clean dry cloths available in storage.

3. Cleaning exterior of unit with steam cleaning unit available in storage.

4. Tag as clean and let air dry inside storage unit.

5. Place in designated area ready for rental.

Walkers:

1. Spray seats, handlebars joysticks lightly with disinfectant.

2. Wipe down with clean dry cloths available in storage.

3. Cleaning exterior of unit wheels and body with light disinfectant.

4. Tag as clean and let air dry inside storage unit.

5. Place in designated area ready for rental.

Ramp:

1. Spray unit lightly with disinfectant.

2. Wipe down with clean dry cloths available in storage.

3. Tag as clean and let air dry inside storage unit.

4. Place in designated area ready for rental.

Trapeze:
1. Spray unit lightly with disinfectant.

2. Wipe down with clean dry cloths available in storage.

3. Tag as clean and let air dry inside storage unit.

4. Place in designated area ready for rental.

